## Sheet1
<Insert Organisation/Facility Name> | How often | Performed by | Cost | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Date Last Completed
Inspections
Building interior common areas--check for damage, arrange repairs | Monthly | Committee | bar: Jan
Building exterior--check for minor damage, make repairs | Monthly | MM
Safety Switch - Test | 6 Monthly | Contractor
Building Exterior
Paths--wash if needed, monitor condition | Quarterly/AR | MM
Windows--wash, re-caulk if needed | Annual | MM
Doors--wash, check weather stripping, re-paint as needed | Annual | MM
Signage--inspect, clean, engage contractor to repair as needed | Quarterly | Committee
Lighting--clean fixtures, change lamps as needed, engage contractor as needed | Quarterly | Committee
Roof--Check drains/monitor condition for cracking, water pooling, leaks, loose flashing/Monitor Spouting for leaves | Annual | MM
Decks and stairs--wash | Quarterly | MM
Foundation--monitor for cracking, check vent covers, check for pests | 6 Monthly | MM
Building Interior
Floors--Sweep/Wash | After use | Hirers |  | Jan: Each hire
Walls--Inspect for damage and repaint | 6 Monthly | MM
Lighting--clean fixtures, change lamps as needed, engage contractor as needed | Quarterly | Committee
Clean Cupboards--Wipe shelves, check for pests, wash cooking equipment | Quarterly | Committee
Fridge - Check fridge function and Wipe out (Check fridge temperature) | Weekly | Committee |  | Jan: Weekly
Kitchen Appliances--clean used appliances, report damage | After use | Hirers/ Committee
Furniture--Stocktake, clean, check damage. Tag faulty equipment for repair | Annual/PRN | Committee | bar: Jan
Bathroom ---clean and restock | Weekly | Committee
Fire Protection
Sprinklers, Alarms, Fire Extinquishers, Backflow--professionally service | Quarterly | Contractor
Smoke detectors--test all units and common areas, replace as needed | Quarterly | Committee
Plumbing
Toilets--check for leaks, running water | 6 Monthy | MM
Faucets and shut-offs--check for leaks, drips | 6 Monthly | MM
Landscaping and Grounds
Walk property--pick up trash | Daily | Committee |  | Jan: Daily
Mow lawn--mow lawn with mulching lawnmower; edge lawn if needed | Fortnightly/ season | Committee |  | Jan: F/N
Mulch all landscape beds--see landscape maintenance fact sheet | As required | Committee
Shrubs and Trees--remove broken, dead, deformed, deranged branches | As required | Committee
Weed--remove weeds as you see them, never let weeds go to seed | As required | Committee
Pest and disease control--monitor and follow Integrated Pest Management and Natural Gardening principals. Engage contractor when required. | Monthly | Committee | bar: Jan
Walks, Paving, Curbs--monitor condition, clean and repair as needed | Quarterly | Report to SCC
Fence--Check Montly monitor condition, clean and repaint as needed | Quarterly | Committee